# Raman

Program for Raman spectra analysis.

## Baseline Correction

Select on spectrum baseline points. Select at least 4 points to see baseline. You can remove any point by clicking right mouse button and selecting in context menu to remove the point.

## Peak Analysis

Select border points on baseline which represents the peak. You can remove any point by clicking right mouse button and selecting in context menu to remove the point.

## Zoom

User can Zoom In and Zoom Out just scrolling mouse middle button. Dragging mouse middle button moves the view.

**Format of file with exported peaks**

File has following columns separated by tabulator:

Peak number

Spectrum name

Peak height

x coordinates of left peak border

x coordinates of right peak border

x coordinates of peak